# What Does Adding More Solar Panels Cost?

Expanding your solar system can be one of the most effective ways to increase savings and reduce reliance on the grid, but understanding the true cost is important before you move forward.

This article explains exactly what influences the cost of adding more solar panels in the UK, so you can make a confident, informed decision and maximise the return from your system.

Key Takeaways

- Adding more solar panels is usually more cost-effective than a full installation, but costs vary based on your existing system.

- Panel prices are only part of the equation; labour, inverter upgrades, and integration can significantly impact the total.

- Battery storage and inverter upgrades can increase upfront costs but often improve long-term savings.

- A professionally assessed expansion delivers better performance, stronger returns, and fewer costly surprises.

## Why The Cost Of Expanding Is Different From A Fresh Install

Expanding an existing solar panel system is not the same as starting from scratch. While you’re building on an established setup, which can reduce some costs, you’re also working within the constraints of what’s already there. That balance is what makes expansion pricing less predictable than a brand-new installation.

### What You’re Not Paying For The Second Time

One of the biggest advantages of expanding your system is that much of the core infrastructure is already in place. This means you avoid several of the upfront costs associated with a full installation.

In many cases, you can benefit from:

- Existing mounting systems that may support additional panels

- Pre-installed cabling routes and electrical connections

- Reduced time spent on surveys and initial design work

- Lower overall labour compared to a full system build

This existing foundation is what makes expansion more cost-efficient in principle.

### What Adds Cost That Wasn’t There Before

However, expansion isn’t always straightforward. Integrating new panels into an existing system often introduces technical challenges that didn’t exist during the original install.

Additional costs can arise from:

- Custom mounting solutions to fit around existing panels

- Electrical upgrades to support increased capacity

- Compatibility adjustments between old and new components

- Additional testing and configuration to maintain system performance

In some cases, these requirements can offset the savings gained from reusing existing infrastructure.

### Why No Two Expansion Quotes Are The Same

Unlike standard installations, expansion projects are highly site-specific. The age, design, and condition of your current system all influence what’s possible and what’s required to make it work properly.

Key factors that affect cost include:

| Factor | Impact on Cost | Complexity Level |
| --- | --- | --- |
| Roof accessibility | High | Moderate |
| Inverter capacity | Very high | High |
| System compatibility | Moderate | Low |

A professional solar panel installer will assess both your roof and electrical setup to determine the most effective approach. This ensures your expanded system performs reliably, not just immediately after installation, but long term.

## The Main Cost: Additional Panels

For most homeowners, the biggest cost of expanding a system comes down to the panels themselves. While you already have a solar PV system in place, increasing capacity still requires careful planning to maximise return on investment.

### Typical Cost Per Panel In The UK

In the UK, most residential systems use monocrystalline panels due to their efficiency and performance in lower light conditions. For example, Upvolt’s solar panels have market-leading efficiency of 24.5%, allowing you to generate more power from the same roof space.

Typical costs are:

- £150 to £350 per panel for high-quality options

- Higher-end panels offer better efficiency and long-term output

Choosing the right panel isn’t just about upfront cost; it directly affects how much energy your system generates over time.

### How Many Panels You’re Likely To Add

The number of panels you add depends on your available roof space and how much additional energy you need.

Many homeowners add between 6 and 12 panels, but this varies depending on:

- Current system size

- Household energy demand

- Roof layout and usable space

A professional assessment will determine the optimal number of panels to maximise both performance and value.

### How Labour Costs Are Calculated For An Expansion

Labour is a key part of the total cost, and expansion work is often more complex than it appears. Installers must integrate new components into an existing system while maintaining safety, compliance, and performance.

This typically includes:

- Installing mounting systems and panels

- Electrical integration with the existing system

- System testing and commissioning

Labour costs vary depending on roof complexity, accessibility, and the level of electrical work required.

While expansion is often more cost-effective than a full installation, the final price depends on how well your existing system supports the upgrade. A properly planned expansion ensures you get the most value from every additional panel.

## When You Also Need A New Inverter

Adding more solar panels can quickly highlight the limits of your existing inverter. While your panels generate the energy, the inverter determines how much of it you can actually use. If it can’t keep up, part of your generation is effectively wasted.

### How To Tell If Your Inverter Needs Replacing

One of the clearest signs your inverter is limiting your system is “clipping.” This happens when your panels generate more power than the inverter can process, and the excess energy is lost.

You should also consider:

- Age: Most inverters last around 10–15 years

- Performance drops: Lower output despite good sunlight

- Error codes or faults shown in your monitoring app

If your inverter is ageing or already close to its capacity, upgrading at the same time as expansion is often the most cost-effective decision.

### What A Replacement Or Upgraded Inverter Costs

The cost of a new inverter depends on the type and capability you choose. More advanced systems offer greater flexibility, but come with a higher upfront investment.

| Inverter Type | Typical Use Case | Estimated Cost Range |
| --- | --- | --- |
| String inverter | Standard systems | £500 – £1,000 |
| Hybrid inverter | Solar + battery-ready | £1,000 – £1,500 |
| Microinverters | Complex or shaded roofs | £1,000 – £2,500 |

Installation is usually included in the total cost, covering setup, integration, and system testing.

### How This Affects Your Overall Expansion Cost

Adding a new inverter will increase your upfront spend, but it protects the performance of your entire system. Without it, you risk losing generated energy, reducing savings, and placing unnecessary strain on older components.

Planning for an inverter upgrade early helps avoid costly rework later and ensures your expanded system operates at full capacity from day one.

## Adding Battery Storage At The Same Time

If you’re already investing in more panels, it often makes sense to consider battery storage at the same time. It changes how your system delivers value, shifting from simple generation to full energy control.

### Typical Battery Storage Costs In The UK

A 4kWh lithium-ion battery typically costs around £4,000, although prices can vary depending on the brand and installation requirements. While this is a significant investment, it allows you to store excess energy and use it when electricity is most expensive.

Although most systems are privately funded, it’s always worth checking for local incentives or support schemes that may reduce upfront costs.

### Why Combining Expansion And Storage Can Save Money

Installing solar panels and battery storage together is usually more cost-efficient than doing them separately.

You benefit from:

- Shared labour and installation costs

- A single system design and setup

- Fewer disruptions to your home

- Better integration between generation and storage

It also allows your system to be designed as a complete solution from the start, rather than retrofitting components later.

### What Size Battery Makes Sense For An Expanded System

Choosing the right battery size is critical. It should match both your energy usage and the output of your expanded system.

| Household Size | Typical Daily Usage | Recommended Battery Size |
| --- | --- | --- |
| Small (1–2 people) | 5–8 kWh | 5 kWh |
| Medium (3–4 people) | 9–12 kWh | 10 kWh |
| Large (5+ people) | 13+ kWh | 15+ kWh |

A well-sized battery increases self-consumption, reduces reliance on the grid, and improves overall return on investment.

By combining additional panels with the right storage solution, you move from simply generating energy to fully optimising how it’s used, stored, and saved.

## Other Costs To Factor In

There are a number of additional costs that can influence the final price, and understanding these upfront helps you avoid surprises and plan your budget with confidence.

### Scaffolding And Access

Even with an existing system, safe roof access is essential for any expansion work. In most cases, scaffolding will still be required to meet UK safety standards.

Costs vary depending on your property, particularly:

- Roof height and pitch

- Ease of access

- Installation complexity

While it may feel like an added expense, it’s a critical part of a safe and compliant installation. Always check whether scaffolding is included in your quote.

### Panel Brand And Specification

Not all solar panels perform the same. Higher-efficiency panels typically cost more upfront but can generate more energy over time, especially on smaller roofs.

While budget options are available, it’s important to weigh:

- Efficiency and output

- Warranty and lifespan

- Long-term performance, not just upfront cost

Choosing the right panels can have a direct impact on your return on investment.

### DNO Application Fees For Larger Systems

If your system size increases significantly, your installer may need to notify or apply to your Distribution Network Operator (DNO). This ensures the grid can safely handle any additional exported energy.

For most homeowners:

- Smaller upgrades fall under simple notification (G98)

- Larger systems may require formal approval (G99)

Some installers include this service, but there may be additional fees depending on the application. Skipping this step can lead to compliance issues or problems with export payments.

### Monitoring System Updates

Adding new panels can sometimes require updates to your monitoring system, especially if your current setup is older. Without the right setup, it becomes harder to track performance and identify issues early.

This may involve:

- Software updates or system reconfiguration

- Additional hardware such as communication bridges

- App or platform upgrades for accurate tracking

Modern systems go further. For example, Upvolt panels come with Skygate®, a built-in monitoring platform that provides real-time performance data, smarter alerts, and clearer insight into how your system is operating.

While monitoring upgrades are usually a smaller cost, they play a key role in helping you maximise output, spot issues quickly, and get the most value from your expanded system.

### Whether Your Existing System Needs Remedial Work

Before adding new panels, your existing system must be able to support them safely and efficiently.

This may involve:

- Upgrading wiring or protection components

- Addressing wear or faults in older systems

- Ensuring compatibility with modern equipment

While this can add to the initial cost, it protects your system’s performance and ensures everything operates reliably over the long term.

## Is Expanding Worth The Cost?

Expanding your solar system can be a powerful way to increase savings, but only if the numbers stack up. The key is understanding how much of the extra energy you’ll actually use or export, and how quickly that translates into a return on your investment.

While panel prices have dropped by 40% since 2020, the true cost includes installation, integration, and any required upgrades. A well-planned expansion delivers long-term value, but the wrong setup can limit returns.

### Typical Payback Period For Adding More Panels

The payback period is one of the most important factors when deciding whether to expand. In many cases, adding solar panels reduces your reliance on grid electricity and increases your export income at the same time.

Your return will depend on:

- How much additional energy your system generates annually

- How much of that energy you use versus export

- Your electricity tariff and cost per kWh

- Whether you have battery storage to increase self-consumption

With the right setup, many homeowners see payback periods that are shorter than their original installation, particularly as energy prices rise.

### How Expansion Affects Your SEG Earnings

Adding more panels increases the amount of surplus energy you can export, which can boost your Smart Export Guarantee (SEG) income. This additional revenue helps offset the cost of expansion over time.

However, export income depends on your system being able to handle the extra generation. If your inverter is already at capacity, some of that energy may be lost unless you upgrade it. Ensuring your system is properly sized is key to capturing the full financial benefit.

### When It Makes More Sense To Start Fresh

In some situations, expanding an existing system isn’t the most cost-effective option. If your current setup is outdated or inefficient, starting again with a modern system may deliver better long-term value.

This is often the case when:

- Your panels are older and significantly less efficient

- Your inverter is incompatible with newer technology

- Your roof layout limits how effectively you can add more panels

- The cost of upgrades approaches the cost of a new installation

Modern systems offer higher efficiency, better integration with batteries, and improved monitoring. In these cases, a full replacement can provide stronger performance and a clearer return over time.

## How Upvolt Provides Transparent Expansion Quotes

Upgrading a solar system should come with clear guidance and transparent pricing, not hidden costs or uncertainty about performance.

### System Assessment And Expansion Planning

At Upvolt, every successful expansion starts with understanding how your current system performs. Upvolt reviews your inverter capacity, roof layout, generation data, and household energy usage to identify the most effective upgrade path.

This ensures your expansion is designed around usable energy and long-term value, not simply adding the maximum number of panels possible.

### MCS-Compliant Expansion And Integration

Expanding an existing solar system requires careful integration to maintain safety, compatibility, and performance. Upvolt manages the full installation process to ensure all components work efficiently together and comply with UK regulations.

This includes:

- Additional solar panel installation

- Inverter upgrades where required

- Battery storage integration

- System optimisation and testing

- DNO notification and compliance support

Every upgrade is designed to operate as a complete, balanced system rather than disconnected additions over time.

### Smart Monitoring And Long-Term Optimisation

Understanding how your expanded system performs is essential to maximising savings. Upvolt systems integrate with Skygate®, giving homeowners clear visibility into generation, usage, export behaviour, and storage performance.

This allows you to:

- Track real-time solar generation

- Identify underperformance early

- Monitor self-consumption and export levels

- Optimise battery charging and usage habits

- Improve long-term system efficiency

With better visibility comes better control over your energy costs and system performance.

## Let’s Recap

The cost of adding more solar panels depends on how well your existing system supports the upgrade. While you benefit from reusing infrastructure, factors like inverter capacity, roof space, and system compatibility can introduce additional costs.

For most homeowners, the biggest expenses come from panels, labour, and any required upgrades, particularly if your inverter needs replacing or you’re adding battery storage. Smaller costs like scaffolding, monitoring updates, and DNO applications can also influence the final price.

Ultimately, the value of expanding your system depends on how much additional energy you can use or export. When designed correctly, an expansion can deliver faster payback, lower energy bills, and improved long-term performance.

## About Upvolt

Expanding a solar system is not just about adding more panels. It requires the right balance of design, compatibility, compliance, and long-term performance to ensure the upgrade delivers real financial value.

Upvolt helps homeowners expand solar systems safely and strategically. Our team assesses your existing setup, identifies any technical limitations, and designs an upgrade that works efficiently with your current system while supporting future energy demand.

From inverter upgrades and battery integration to DNO applications and installation, every stage is managed with a focus on reliability, performance, and long-term savings.

Ready to expand your solar system with confidence? Fill in our quick online form and get tailored guidance on the best way to upgrade your setup.

## FAQ

### How much does installing additional solar panels cost on an existing system in the UK?

The average cost of a solar panel installation on an existing system is usually lower than a full install, but still varies by setup. Additional panels could cost between £150 and £350 each, depending on the type of panels, labour, and system complexity. Your total system cost will depend on how much capacity you add and whether upgrades like a new inverter are required.

### Will adding more solar panels affect my electricity bill and payback period?

Yes, generating more solar energy reduces how much electricity you need from the grid, lowering your bills. The more energy you use on-site, the greater the savings. Exporting excess energy can also increase your overall return, helping shorten the payback period. A well-sized system delivers the strongest financial benefit over time.

### Do I need to replace my solar inverter when I get solar panels added to my array?

It depends on whether your current inverter can handle the additional solar power. If it’s already near capacity, you may need an upgrade to avoid losing energy through clipping. In some cases, a larger or hybrid inverter is recommended to support expansion and future upgrades. An installer will confirm what your system can handle.

### Are there any solar panel grants or funding to offset the upfront cost of adding more domestic solar panels?

There are currently limited UK government grants specifically for adding panels to an existing system. However, some local schemes or energy efficiency programmes across the UK may still support solar installations. You can also benefit from the Smart Export Guarantee, which pays for exported energy over time. Checking available options with your installer helps identify any support you may qualify for.

### Are solar batteries worth adding at the same time as an expansion?

In many cases, yes. Solar battery storage allows you to use more of your own energy instead of exporting it at lower rates. While it adds to the cost of installation, combining it with an expansion is often more cost-effective than installing it later. It also improves long-term savings and energy independence.

Meta Title: What Does Adding More Solar Panels Cost?

Meta description: Learn how much it costs to add more solar panels, including panel prices, inverter upgrades, battery storage, and what affects your total system cost.

Excerpt: The cost of adding more solar panels depends on your existing system, required upgrades, and how much extra capacity you need. This guide breaks down panel pricing, labour, and additional costs to help you plan a cost-effective solar expansion.

Sub Title: What affects the cost of expanding your solar panel system.